Figure 2

Measured exemplary voltage (red) and current (black) waveforms for the

μs- and ns-pulsed operation. Panel (a) shows the μs pulse in the form of a damped

sinusoidal waveform, while panel (b) presents a zoomed-in view of the same μs pulse.

Panel (c) shows the ns pulse, where the dotted gray line corresponds to the current

directly measured at the oscilloscope and the solid black line represents the current

corrected for the cable propagation delay difference between the current shunt and the

voltage probe. Panel (d) shows the calibrated voltage and current waveforms obtained

using the calibration procedure described in Ref. [49]; the green dashed line indicates

the voltage pulse used in the simulations (see discussion in the text). The repetition

frequency for both μs and ns pulses is 1 kHz. The dashed black lines in panels (b) and

(c) mark the reference times used for the PROES measurements shown in Figs. 5–13.

The absolute timing of this reference is subject to an uncertainty of up to approximately

10 ns (see text).

Figure 2 a) 

x (Time / µs), y1 (Current / A), y2 (Voltage / kV),  

Figure 2 b) 

x (Time / µs) , y1 (Current / A), y2 (Voltage / kV),

 black dashed line (see caption)

Figure 2 c) 

x (Time / ns) , y1 (black line) (Current / A),  y2 (gray dashed line) (Current / A), y3 (Voltage / kV),

 black dashed line (see caption)

Figure 2 d) 

x (Time / ns) , y1 (black line) (Current / A),  y2 (green dashed line) (Current / A), y3 (Voltage / kV),